Genomic DNA Aminoallyl Labeling

(Revised) No digest will be performed. DNA will be sufficiently sheared during “bead-beating” and further cutting is superfluous.

- Run 4 (g DNA on a 0.7% TAE gel to confirm shearing

- Clean up 20 (g (to have 16 (g after cleanup) DNA using Qiaquick PCR purification kit, eluting twice in 30 (l dH2O.

- Check final DNA concentration via OD 260/280 reading. Watch ratio carefully, as an indication of Phenol contamination. Double rinse the microcuvette with dH2O between readings, blow dry with air-duster.

DNA aminoallyl-labelled synthesis

- Make a Genomic DNA/primer mix:

- Genomic DNA 			4 (g

- Random hexamers (1(g/(l)		10 (l

- Filtered sterilized H2O bring to 	36.5 (l

- Mix well and incubate @ 100(C for 5 min.

- Snap cool on ice water for 5 min, centrifuge above 10,000 briefly to bring down any condensation and continue @ RT.

- Add the following:

- Genomic DNA/primer 	36.5 (l

- Klenow fragment(exo)	0.5(l

- Klenow buffer	(10x)	5 (l

- 3mMdNTPs			6(l		360(M

- dTTP (5 mM)		1.2 (l		120(M

- aa-dUTP (15 mM)		0.8 (l		240(M

  - Total volume 		50 (l

- 3mM labeling mix. Store @ -20(C:

  - dATP (100 mM)	2.5(l

  - dCTP (100 mM)	2.5(l

  - dGTP (100 mM)	2.5(l

  - Milli Q water		76(l

    - Total volume	83.5

- Mix and incubate in a @ 37(C waterbath for 4-5 hrs.

- Stop the DNA synthesis by adding 5(l 0.5 M EDTA (pH 8.0)

Qiagen Cleanup Method:

- Note: The phosphate wash and elution buffers are substituted for qiagen supplied buffers because the Q buffers contain free amines which compete with the Cy dye coupling reaction.

  - To the 50 (l of above rx add 3.5 (l 3M NaOAc pH 5.2 and 275 (l of PB buffer, mix and transfer to Qiaquick column.

  - Place the column in a 1.5 ml collection tube and centrifuge @ ~ 13,000 rpm for 1 min. Empty collection tube.

  - To wash, add 750 (l phosphate buffer to the column and centrifuge at ~ 13,000 rpm for 1 min. Incubate @ RT 1 min after adding buffer to the column.

  - Empty the collection tube and repeat the wash and centrifugation step 2 more times.

  - Empty the collection tube and centrifuge column an additional 1 min at max speed.

  - Transfer column to a new 1.5 ml microcentrifuge tube and carefully add 35 (l phosphate elution buffer, preheated @ 37(C,  to the center of column membrane.

  - Incubate for 5 min @ RT

  - Elute by centrifugation @ ~ 13,000 for 1 min.

  - Elute a second time into the same tube, the final volume should be ~ 66 (l.

  - Note: check column membrane before and after elution. Cy-dye should be visible on membrane before but not after elution

  - Dry down into speedvac

Coupling aa-cDNA to Cy Dye Ester

- Resuspend the aa-labeled cDNA in 4.5 (l 0.1 M sodium carbonate buffer (Na2CO3), pH 9.0.

- Note: Na2CO3 buffer changes composition over time so make sure you make it fresh every couple of weeks to a month.

- Add 4.5 (l of appropriate NHS-ester Cy dye resuspended in DMSO (resuspend a tube of dye in 50 (l DMSO and aliquoted in 4.5(l fractions in eppendorf tubes, keep in dark, store in desiccant @ -20(C).

- Note: to prevent photobleaching of the Cy dyes wrap all reaction tubes in foil and keep them sequestered from light as much as possible.

- Incubate the rx for 45 min -1 hr in the dark @ RT.

Reaction Purification II: removal of uncoupled dye (Qiagen PCR purification kit)

- Bring the coupling rx volume to 30 (l (add roughly 21 (l of filtered sterilized H2O), add 2 (l 3M NaOAC pH 5.2 and 150 (l of PB buffer supplied in the kit.

- Follow the same steps as before using the Quiagen buffers. Elute twice with 40 (l of buffer, the final elution volume should be ~ 75 (l.

Analysis of Labeling Reaction:

- Use a 50 (l quartz cuvette to analyze the entire undiluted sample ina a spec.

- Clean cuvette by soaking in 1:1  methanol:conc. HCl for 1 hr

- Wash the cuvette with water and blow dry with compressed air duster.

- Blank with Qiagen EB

- Pipette sample into cuvette and place cuvette in spec.

- Read entire 75 (l sample  @ 260 nm, 550 nm for Cy3 and 650 nm for Cy5.

- Pipette sample from cuvette back in the original sample tube.

- Wash cuvette with fsH2O between samples. Blow-dry.

For each sample calculate the total picomoles of cDNA synthesized using:

Pmol nucleotides: [OD260*volume((l)*37 ng/(l*1000 pg/ng]

324.5 pg/pmol

pmol Cy3: OD550*volume((l)

0.15

pmol Cy5: OD650*volume((l)

0.25

nucleotides/dye ratio: pmol cDNA

pmol Cy dye

- Note: >200 pmol of dye incorporation per sample and a ratio of less than 40 nucleotides/dye molecules is optimal for hybridizations.

~150 pmol of each incorporated dye are used for one hybridization.

Reagent Preparation:

Phosphate Buffers:

To make 1 M Phosphate buffer (KPO4, pH 8.5-8.7) combine:

1 M K2HPO4		9.5 mL

1 M KH2PO4		0.5 mL

Make it in RNase free water and filter sterilize.

For 100 mL Phosphate wash buffer (5mM KPO4, pH 8.0, 80% EtOH) mix:

1 M KPO4 pH 8.5	0.5 mL

dH2O			15.25 mL

95% EtOH		84.25

Phosphate Elution Buffer is made by diluting 1 M KPO4, pH 8.5 to 4 mM with dH20.

Sodium Carbonate Buffer (Na2CO3): 1 M, pH 9.0:

Dissolve 2.12 g Na2CO3 in 80 mL of dH2O

need ~ 2 mL conc. HCl to bring pH to 9, filter sterilize.

To make 0.1 M for the dye coupling reaction dilute 1:10 with dwater.

DNA Poly. I Klenow (New Eng. Biolabs, Cat# M0212M)

Amersham Cy5 monoreactive dye pack		PA25001

Cy3 monoreactive dye pack		PA23001

AMBION aa-dUTP 					N. 8439